All symbols must be specified and a description must be added stating the type of device with its normal state (NO, NC).

Problem No. : Design a PLC ladder logic program to control the operation of an alarm system using the following sequence:

- An ALARM must be energized and stay energized (latched) when a limit SWITCH is activated once or when a motion SENSOR is activated three (3) times within a space of 30 seconds.

- The ALARM can only be de-energized (unlatched) by pushing a hidden normally-open momentary-contact BUTTON.

- Hint: latch the timer with a sensor activation and use a count-up instruction to count the number of sensor activations. Reset the count and unlatch the timer if the timer is done.

- Program SWITCH, SENSOR, and BUTTON using bits 0, 1, and 2 of the input module respectively.

- Program ALARM using bit 0 of the output module.